## DATABASE
Item Building: - | Item | Building: | - | Baseline | Baseline2 | Baseline3 | Baseline4 | Proposed
Annual Building Utility Performance Summary Total Site Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Total Site Energy | Total Energy *[MWh] | 7661.8679 | 7644.4612 | 7670.5705 | 7653.2699 | 14058.4878
Annual Building Utility Performance Summary Total Site Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Site Energy | Energy Per Total Building Area [kWh/m2] | 138.05 | 137.74 | 138.21 | 137.9 | 253.31
Annual Building Utility Performance Summary Total Site Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Site Energy | Energy Per Conditioned Building Area [kWh/m2] | 150.16 | 149.82 | 150.33 | 149.99 | 266.76
Annual Building Utility Performance Summary Net Site Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Net Site Energy | Total Energy *[MWh] | 7661.8679 | 7644.4612 | 7670.5705 | 7653.2699 | 14058.4878
Annual Building Utility Performance Summary Net Site Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Site Energy | Energy Per Total Building Area [kWh/m2] | 138.05 | 137.74 | 138.21 | 137.9 | 253.31
Annual Building Utility Performance Summary Net Site Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Site Energy | Energy Per Conditioned Building Area [kWh/m2] | 150.16 | 149.82 | 150.33 | 149.99 | 266.76
Annual Building Utility Performance Summary Total Source Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Total Source Energy | Total Energy *[MWh] | 22908.6781 | 22878.6392 | 22883.9052 | 22859.5231 | 34266.328
Annual Building Utility Performance Summary Total Source Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Source Energy | Energy Per Total Building Area [kWh/m2] | 412.77 | 412.23 | 412.33 | 411.89 | 617.41
Annual Building Utility Performance Summary Total Source Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Source Energy | Energy Per Conditioned Building Area [kWh/m2] | 448.97 | 448.38 | 448.49 | 448.01 | 650.21
Annual Building Utility Performance Summary Net Source Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Net Source Energy | Total Energy *[MWh] | 22908.6781 | 22878.6392 | 22883.9052 | 22859.5231 | 34266.328
Annual Building Utility Performance Summary Net Source Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Source Energy | Energy Per Total Building Area [kWh/m2] | 412.77 | 412.23 | 412.33 | 411.89 | 617.41
Annual Building Utility Performance Summary Net Source Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Source Energy | Energy Per Conditioned Building Area [kWh/m2] | 448.97 | 448.38 | 448.49 | 448.01 | 650.21
Input Verification and Results Summary Program Version and Build Value | Input Verification and Results Summary | Program Version and Build | Value | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.08 18:25 | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.08 18:25 | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.08 18:25 | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.08 18:25 | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.08 18:25
Input Verification and Results Summary RunPeriod Value | Input Verification and Results Summary | RunPeriod | Value | CENTRAL | CENTRAL | CENTRAL | CENTRAL | CENTRAL
Input Verification and Results Summary Weather File Value | Input Verification and Results Summary | Weather File | Value | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160
Input Verification and Results Summary Latitude [deg] Value | Input Verification and Results Summary | Latitude [deg] | Value | 48.2 | 48.2 | 48.2 | 48.2 | 48.2
Input Verification and Results Summary Longitude [deg] Value | Input Verification and Results Summary | Longitude [deg] | Value | 17.2 | 17.2 | 17.2 | 17.2 | 17.2
Input Verification and Results Summary Elevation [m] Value | Input Verification and Results Summary | Elevation [m] | Value | 130 | 130 | 130 | 130 | 130
Input Verification and Results Summary Time Zone Value | Input Verification and Results Summary | Time Zone | Value | 1 | 1 | 1 | 1 | 1
Input Verification and Results Summary North Axis Angle [deg] Value | Input Verification and Results Summary | North Axis Angle [deg] | Value | 0 | 0 | 0 | 0 | 0
Input Verification and Results Summary Rotation for Appendix G [deg] Value | Input Verification and Results Summary | Rotation for Appendix G [deg] | Value | 0 | 90 | 180 | 270 | 0
Input Verification and Results Summary Hours Simulated [hrs] Value | Input Verification and Results Summary | Hours Simulated [hrs] | Value | 8760 | 8760 | 8760 | 8760 | 8760
LEED Summary Interior Lighting Electric Energy Use [GJ] | LEED Summary | Interior Lighting | Electric Energy Use **[MWh] | 2435.9872 | 2435.9872 | 2435.9872 | 2435.9872 | 2030.3452
LEED Summary Interior Lighting Electric Demand [W] | LEED Summary | Interior Lighting | Electric Demand [W] | 726472.31 | 726472.31 | 726472.31 | 731851.87 | 604593.56
LEED Summary Interior Lighting Natural Gas Energy Use [GJ] | LEED Summary | Interior Lighting | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Natural Gas Demand [W] | LEED Summary | Interior Lighting | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Additional Energy Use [GJ] | LEED Summary | Interior Lighting | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Additional Demand [W] | LEED Summary | Interior Lighting | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Electric Energy Use [GJ] | LEED Summary | Exterior Lighting | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Electric Demand [W] | LEED Summary | Exterior Lighting | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Natural Gas Energy Use [GJ] | LEED Summary | Exterior Lighting | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Natural Gas Demand [W] | LEED Summary | Exterior Lighting | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Additional Energy Use [GJ] | LEED Summary | Exterior Lighting | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Additional Demand [W] | LEED Summary | Exterior Lighting | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Electric Energy Use [GJ] | LEED Summary | Space Heating | Electric Energy Use **[MWh] | 0.002777 | 0.002777 | 0.002777 | 0.002777 | 0.019439
LEED Summary Space Heating Electric Demand [W] | LEED Summary | Space Heating | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Natural Gas Energy Use [GJ] | LEED Summary | Space Heating | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Natural Gas Demand [W] | LEED Summary | Space Heating | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Additional Energy Use [GJ] | LEED Summary | Space Heating | Additional Energy Use **[MWh] | 625.7858 | 614.2113 | 649.9291 | 635.8997 | 4731.9025
LEED Summary Space Heating Additional Demand [W] | LEED Summary | Space Heating | Additional Demand [W] | 1783530.77 | 1815746.36 | 1782669.03 | 1803096.2 | 3225652.99
LEED Summary Space Cooling Electric Energy Use [GJ] | LEED Summary | Space Cooling | Electric Energy Use **[MWh] | 1698.9297 | 1692.9397 | 1685.4696 | 1686.8137 | 1860.0985
LEED Summary Space Cooling Electric Demand [W] | LEED Summary | Space Cooling | Electric Demand [W] | 491709.02 | 497940.81 | 487957.88 | 469795.89 | 1249570.85
LEED Summary Space Cooling Natural Gas Energy Use [GJ] | LEED Summary | Space Cooling | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Natural Gas Demand [W] | LEED Summary | Space Cooling | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Additional Energy Use [GJ] | LEED Summary | Space Cooling | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Additional Demand [W] | LEED Summary | Space Cooling | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Electric Energy Use [GJ] | LEED Summary | Pumps | Electric Energy Use **[MWh] | 209.3914 | 209.3192 | 212.496 | 211.9073 | 437.7052
LEED Summary Pumps Electric Demand [W] | LEED Summary | Pumps | Electric Demand [W] | 23060.36 | 23082.69 | 23432.85 | 23317.19 | 59737.61
LEED Summary Pumps Natural Gas Energy Use [GJ] | LEED Summary | Pumps | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Natural Gas Demand [W] | LEED Summary | Pumps | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Additional Energy Use [GJ] | LEED Summary | Pumps | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Additional Demand [W] | LEED Summary | Pumps | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Electric Energy Use [GJ] | LEED Summary | Heat Rejection | Electric Energy Use **[MWh] | 70.3247 | 68.7196 | 65.4511 | 67.4228 | 114.3402
LEED Summary Heat Rejection Electric Demand [W] | LEED Summary | Heat Rejection | Electric Demand [W] | 134977.27 | 135107.99 | 137157.55 | 136480.52 | 69406.75
LEED Summary Heat Rejection Natural Gas Energy Use [GJ] | LEED Summary | Heat Rejection | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Natural Gas Demand [W] | LEED Summary | Heat Rejection | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Additional Energy Use [GJ] | LEED Summary | Heat Rejection | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Additional Demand [W] | LEED Summary | Heat Rejection | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Electric Energy Use [GJ] | LEED Summary | Fans-Interior | Electric Energy Use **[MWh] | 621.8758 | 623.7142 | 621.6592 | 615.6665 | 3125.7829
LEED Summary Fans-Interior Electric Demand [W] | LEED Summary | Fans-Interior | Electric Demand [W] | 81972.48 | 81529.68 | 78810.04 | 77338.85 | 377357.29
LEED Summary Fans-Interior Natural Gas Energy Use [GJ] | LEED Summary | Fans-Interior | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Natural Gas Demand [W] | LEED Summary | Fans-Interior | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Additional Energy Use [GJ] | LEED Summary | Fans-Interior | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Additional Demand [W] | LEED Summary | Fans-Interior | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Electric Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Electric Demand [W] | LEED Summary | Fans-Parking Garage | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Natural Gas Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Natural Gas Demand [W] | LEED Summary | Fans-Parking Garage | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Additional Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Additional Demand [W] | LEED Summary | Fans-Parking Garage | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Electric Energy Use [GJ] | LEED Summary | Service Water Heating | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Electric Demand [W] | LEED Summary | Service Water Heating | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Natural Gas Energy Use [GJ] | LEED Summary | Service Water Heating | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Natural Gas Demand [W] | LEED Summary | Service Water Heating | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Additional Energy Use [GJ] | LEED Summary | Service Water Heating | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Additional Demand [W] | LEED Summary | Service Water Heating | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Electric Energy Use [GJ] | LEED Summary | Receptacle Equipment | Electric Energy Use **[MWh] | 1982.7336 | 1982.7336 | 1982.7336 | 1982.7336 | 1739.6711
LEED Summary Receptacle Equipment Electric Demand [W] | LEED Summary | Receptacle Equipment | Electric Demand [W] | 423969.34 | 423969.34 | 423969.34 | 423969.34 | 379628.71
LEED Summary Receptacle Equipment Natural Gas Energy Use [GJ] | LEED Summary | Receptacle Equipment | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Natural Gas Demand [W] | LEED Summary | Receptacle Equipment | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Additional Energy Use [GJ] | LEED Summary | Receptacle Equipment | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Additional Demand [W] | LEED Summary | Receptacle Equipment | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Electric Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Electric Demand [W] | LEED Summary | Interior Lighting (process) | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Natural Gas Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Natural Gas Demand [W] | LEED Summary | Interior Lighting (process) | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Additional Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Additional Demand [W] | LEED Summary | Interior Lighting (process) | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Electric Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Electric Demand [W] | LEED Summary | Refrigeration Equipment | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Natural Gas Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Natural Gas Demand [W] | LEED Summary | Refrigeration Equipment | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Additional Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Additional Demand [W] | LEED Summary | Refrigeration Equipment | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Electric Energy Use [GJ] | LEED Summary | Cooking | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Electric Demand [W] | LEED Summary | Cooking | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Natural Gas Energy Use [GJ] | LEED Summary | Cooking | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Natural Gas Demand [W] | LEED Summary | Cooking | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Additional Energy Use [GJ] | LEED Summary | Cooking | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Additional Demand [W] | LEED Summary | Cooking | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Electric Energy Use [GJ] | LEED Summary | Industrial Process | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Electric Demand [W] | LEED Summary | Industrial Process | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Natural Gas Energy Use [GJ] | LEED Summary | Industrial Process | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Natural Gas Demand [W] | LEED Summary | Industrial Process | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Additional Energy Use [GJ] | LEED Summary | Industrial Process | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Additional Demand [W] | LEED Summary | Industrial Process | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Electric Energy Use [GJ] | LEED Summary | Elevators and Escalators | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Electric Demand [W] | LEED Summary | Elevators and Escalators | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Natural Gas Energy Use [GJ] | LEED Summary | Elevators and Escalators | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Natural Gas Demand [W] | LEED Summary | Elevators and Escalators | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Additional Energy Use [GJ] | LEED Summary | Elevators and Escalators | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Additional Demand [W] | LEED Summary | Elevators and Escalators | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Total Line Electric Energy Use [GJ] | LEED Summary | Total Line | Electric Energy Use **[MWh] | 7033.9355 | 7028.1094 | 7018.4926 | 7015.2269 | 9322.65
LEED Summary Total Line Electric Demand [W] | LEED Summary | Total Line | Electric Demand [W]
LEED Summary Total Line Natural Gas Energy Use [GJ] | LEED Summary | Total Line | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Total Line Natural Gas Demand [W] | LEED Summary | Total Line | Natural Gas Demand [W]
LEED Summary Total Line Additional Energy Use [GJ] | LEED Summary | Total Line | Additional Energy Use **[MWh] | 625.7858 | 614.2113 | 649.9291 | 635.8997 | 4731.9025
LEED Summary Total Line Additional Demand [W] | LEED Summary | Total Line | Additional Demand [W]
Annual Building Utility Performance Summary Total Building Area Area [m2] | Annual Building Utility Performance Summary | Total Building Area | Area [m2] | 55499.67 | 55499.67 | 55499.67 | 55499.67 | 55499.67
Annual Building Utility Performance Summary Net Conditioned Building Area Area [m2] | Annual Building Utility Performance Summary | Net Conditioned Building Area | Area [m2] | 51024.82 | 51024.82 | 51024.82 | 51024.82 | 52700.64
Annual Building Utility Performance Summary Unconditioned Building Area Area [m2] | Annual Building Utility Performance Summary | Unconditioned Building Area | Area [m2] | 4474.85 | 4474.85 | 4474.85 | 4474.85 | 2799.02
Annual Building Utility Performance Summary Heating Electricity [kWh] | Annual Building Utility Performance Summary | Heating | Electricity *[MWh] | 0.00285 | 0.00279 | 0.00295 | 0.0029 | 0.01878
Annual Building Utility Performance Summary Heating Natural Gas [kWh] | Annual Building Utility Performance Summary | Heating | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heating | Additional Fuel *[MWh] | 625.961 | 614.3836 | 650.1114 | 636.0788 | 4733.2269
Annual Building Utility Performance Summary Heating District Cooling [kWh] | Annual Building Utility Performance Summary | Heating | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating District Heating [kWh] | Annual Building Utility Performance Summary | Heating | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating Water [m3] | Annual Building Utility Performance Summary | Heating | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Electricity [kWh] | Annual Building Utility Performance Summary | Cooling | Electricity *[MWh] | 1699.4046 | 1693.4129 | 1685.9428 | 1687.2855 | 1860.619
Annual Building Utility Performance Summary Cooling Natural Gas [kWh] | Annual Building Utility Performance Summary | Cooling | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Additional Fuel [kWh] | Annual Building Utility Performance Summary | Cooling | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling District Cooling [kWh] | Annual Building Utility Performance Summary | Cooling | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling District Heating [kWh] | Annual Building Utility Performance Summary | Cooling | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Water [m3] | Annual Building Utility Performance Summary | Cooling | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Electricity [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Electricity *[MWh] | 2436.67 | 2436.67 | 2436.67 | 2436.67 | 2030.9138
Annual Building Utility Performance Summary Interior Lighting Natural Gas [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Additional Fuel [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting District Cooling [kWh] | Annual Building Utility Performance Summary | Interior Lighting | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting District Heating [kWh] | Annual Building Utility Performance Summary | Interior Lighting | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Water [m3] | Annual Building Utility Performance Summary | Interior Lighting | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Electricity [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Natural Gas [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Additional Fuel [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting District Cooling [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting District Heating [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Water [m3] | Annual Building Utility Performance Summary | Exterior Lighting | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Electricity [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Electricity *[MWh] | 1983.2899 | 1983.2899 | 1983.2899 | 1983.2899 | 1740.1583
Annual Building Utility Performance Summary Interior Equipment Natural Gas [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Additional Fuel [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment District Cooling [kWh] | Annual Building Utility Performance Summary | Interior Equipment | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment District Heating [kWh] | Annual Building Utility Performance Summary | Interior Equipment | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Water [m3] | Annual Building Utility Performance Summary | Interior Equipment | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Electricity [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Electricity *[MWh] | 14.6952 | 14.6952 | 14.6952 | 14.6952 | 14.6952
Annual Building Utility Performance Summary Exterior Equipment Natural Gas [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Additional Fuel [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment District Cooling [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment District Heating [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Water [m3] | Annual Building Utility Performance Summary | Exterior Equipment | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Electricity [kWh] | Annual Building Utility Performance Summary | Fans | Electricity *[MWh] | 622.0501 | 623.8896 | 621.8347 | 615.839 | 3126.6572
Annual Building Utility Performance Summary Fans Natural Gas [kWh] | Annual Building Utility Performance Summary | Fans | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Additional Fuel [kWh] | Annual Building Utility Performance Summary | Fans | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans District Cooling [kWh] | Annual Building Utility Performance Summary | Fans | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans District Heating [kWh] | Annual Building Utility Performance Summary | Fans | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Water [m3] | Annual Building Utility Performance Summary | Fans | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Electricity [kWh] | Annual Building Utility Performance Summary | Pumps | Electricity *[MWh] | 209.4499 | 209.3778 | 212.5546 | 211.9663 | 437.8276
Annual Building Utility Performance Summary Pumps Natural Gas [kWh] | Annual Building Utility Performance Summary | Pumps | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Additional Fuel [kWh] | Annual Building Utility Performance Summary | Pumps | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps District Cooling [kWh] | Annual Building Utility Performance Summary | Pumps | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps District Heating [kWh] | Annual Building Utility Performance Summary | Pumps | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Water [m3] | Annual Building Utility Performance Summary | Pumps | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Electricity [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Electricity *[MWh] | 70.3444 | 68.7393 | 65.4689 | 67.4424 | 114.3709
Annual Building Utility Performance Summary Heat Rejection Natural Gas [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection District Cooling [kWh] | Annual Building Utility Performance Summary | Heat Rejection | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection District Heating [kWh] | Annual Building Utility Performance Summary | Heat Rejection | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Water [m3] | Annual Building Utility Performance Summary | Heat Rejection | Water [m3] | 11178.97 | 11098.84 | 10959.68 | 11045.79 | 8342.42
Annual Building Utility Performance Summary Humidification Electricity [kWh] | Annual Building Utility Performance Summary | Humidification | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Natural Gas [kWh] | Annual Building Utility Performance Summary | Humidification | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Additional Fuel [kWh] | Annual Building Utility Performance Summary | Humidification | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification District Cooling [kWh] | Annual Building Utility Performance Summary | Humidification | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification District Heating [kWh] | Annual Building Utility Performance Summary | Humidification | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Water [m3] | Annual Building Utility Performance Summary | Humidification | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Electricity [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Natural Gas [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery District Cooling [kWh] | Annual Building Utility Performance Summary | Heat Recovery | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery District Heating [kWh] | Annual Building Utility Performance Summary | Heat Recovery | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Water [m3] | Annual Building Utility Performance Summary | Heat Recovery | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Electricity [kWh] | Annual Building Utility Performance Summary | Water Systems | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Natural Gas [kWh] | Annual Building Utility Performance Summary | Water Systems | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Additional Fuel [kWh] | Annual Building Utility Performance Summary | Water Systems | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems District Cooling [kWh] | Annual Building Utility Performance Summary | Water Systems | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems District Heating [kWh] | Annual Building Utility Performance Summary | Water Systems | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Water [m3] | Annual Building Utility Performance Summary | Water Systems | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Electricity [kWh] | Annual Building Utility Performance Summary | Refrigeration | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Natural Gas [kWh] | Annual Building Utility Performance Summary | Refrigeration | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Additional Fuel [kWh] | Annual Building Utility Performance Summary | Refrigeration | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration District Cooling [kWh] | Annual Building Utility Performance Summary | Refrigeration | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration District Heating [kWh] | Annual Building Utility Performance Summary | Refrigeration | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Water [m3] | Annual Building Utility Performance Summary | Refrigeration | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Electricity [kWh] | Annual Building Utility Performance Summary | Generators | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Natural Gas [kWh] | Annual Building Utility Performance Summary | Generators | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Additional Fuel [kWh] | Annual Building Utility Performance Summary | Generators | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators District Cooling [kWh] | Annual Building Utility Performance Summary | Generators | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators District Heating [kWh] | Annual Building Utility Performance Summary | Generators | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Water [m3] | Annual Building Utility Performance Summary | Generators | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Electricity [kWh] | Annual Building Utility Performance Summary |  | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Natural Gas [kWh] | Annual Building Utility Performance Summary |  | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Additional Fuel [kWh] | Annual Building Utility Performance Summary |  | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary District Cooling [kWh] | Annual Building Utility Performance Summary |  | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary District Heating [kWh] | Annual Building Utility Performance Summary |  | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water [m3] | Annual Building Utility Performance Summary |  | Water [m3]
Annual Building Utility Performance Summary Total End Uses Electricity [kWh] | Annual Building Utility Performance Summary | Total End Uses | Electricity *[MWh] | 7035.9069 | 7030.0775 | 7020.459 | 7017.1911 | 9325.2609
Annual Building Utility Performance Summary Total End Uses Natural Gas [kWh] | Annual Building Utility Performance Summary | Total End Uses | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses Additional Fuel [kWh] | Annual Building Utility Performance Summary | Total End Uses | Additional Fuel *[MWh] | 625.961 | 614.3836 | 650.1114 | 636.0788 | 4733.2269
Annual Building Utility Performance Summary Total End Uses District Cooling [kWh] | Annual Building Utility Performance Summary | Total End Uses | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses District Heating [kWh] | Annual Building Utility Performance Summary | Total End Uses | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses Water [m3] | Annual Building Utility Performance Summary | Total End Uses | Water [m3] | 11178.97 | 11098.84 | 10959.68 | 11045.79 | 8342.42
Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Heating Facility [Hours] | Annual Building Utility Performance Summary | Time Setpoint Not Met During Occupied Heating | Facility [Hours] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Cooling Facility [Hours] | Annual Building Utility Performance Summary | Time Setpoint Not Met During Occupied Cooling | Facility [Hours] | 63.5 | 19 | 0 | 24.5 | 3150.5
Annual Building Utility Performance Summary Time Not Comfortable Based on Simple ASHRAE 55-2004 Facility [Hours] | Annual Building Utility Performance Summary | Time Not Comfortable Based on Simple ASHRAE 55-2004 | Facility [Hours] | 4145.5 | 4123 | 4165 | 4156.5 | 4113
Input Verification and Results Summary Gross Wall Area [m2] Total | Input Verification and Results Summary | Gross Wall Area [m2] | Total | 11754.98 | 11754.98 | 11754.98 | 11754.98 | 11754.98
Input Verification and Results Summary Gross Wall Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | North (315 to 45 deg) | 3264.67 | 2716.01 | 3250.97 | 2523.32 | 3264.67
Input Verification and Results Summary Gross Wall Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | East (45 to 135 deg) | 2523.32 | 3264.67 | 2716.01 | 3250.97 | 2523.32
Input Verification and Results Summary Gross Wall Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | South (135 to 225 deg) | 3250.97 | 2523.32 | 3264.67 | 2716.01 | 3250.97
Input Verification and Results Summary Gross Wall Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | West (225 to 315 deg) | 2716.01 | 3250.97 | 2523.32 | 3264.67 | 2716.01
Input Verification and Results Summary Above Ground Wall Area [m2] Total | Input Verification and Results Summary | Above Ground Wall Area [m2] | Total | 8631.1 | 8631.1 | 8631.1 | 8631.1 | 8631.1
Input Verification and Results Summary Above Ground Wall Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | North (315 to 45 deg) | 2408.41 | 1988.89 | 2406.4 | 1827.39 | 2408.41
Input Verification and Results Summary Above Ground Wall Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | East (45 to 135 deg) | 1827.39 | 2408.41 | 1988.89 | 2406.4 | 1827.39
Input Verification and Results Summary Above Ground Wall Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | South (135 to 225 deg) | 2406.4 | 1827.39 | 2408.41 | 1988.89 | 2406.4
Input Verification and Results Summary Above Ground Wall Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | West (225 to 315 deg) | 1988.89 | 2406.4 | 1827.39 | 2408.41 | 1988.89
Input Verification and Results Summary Window Opening Area [m2] Total | Input Verification and Results Summary | Window Opening Area [m2] | Total | 3180.85 | 3180.85 | 3180.85 | 3180.85 | 3180.85
Input Verification and Results Summary Window Opening Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Window Opening Area [m2] | North (315 to 45 deg) | 609.53 | 356.59 | 1017.86 | 1196.86 | 609.53
Input Verification and Results Summary Window Opening Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Window Opening Area [m2] | East (45 to 135 deg) | 1196.86 | 609.53 | 356.59 | 1017.86 | 1196.86
Input Verification and Results Summary Window Opening Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Window Opening Area [m2] | South (135 to 225 deg) | 1017.86 | 1196.86 | 609.53 | 356.59 | 1017.86
Input Verification and Results Summary Window Opening Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Window Opening Area [m2] | West (225 to 315 deg) | 356.59 | 1017.86 | 1196.86 | 609.53 | 356.59
Input Verification and Results Summary Gross Window-Wall Ratio [%] Total | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | Total | 27.06 | 27.06 | 27.06 | 27.06 | 27.06
Input Verification and Results Summary Gross Window-Wall Ratio [%] North (315 to 45 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | North (315 to 45 deg) | 18.67 | 13.13 | 31.31 | 47.43 | 18.67
Input Verification and Results Summary Gross Window-Wall Ratio [%] East (45 to 135 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | East (45 to 135 deg) | 47.43 | 18.67 | 13.13 | 31.31 | 47.43
Input Verification and Results Summary Gross Window-Wall Ratio [%] South (135 to 225 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | South (135 to 225 deg) | 31.31 | 47.43 | 18.67 | 13.13 | 31.31
Input Verification and Results Summary Gross Window-Wall Ratio [%] West (225 to 315 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | West (225 to 315 deg) | 13.13 | 31.31 | 47.43 | 18.67 | 13.13
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] Total | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | Total | 36.85 | 36.85 | 36.85 | 36.85 | 36.85
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] North (315 to 45 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | North (315 to 45 deg) | 25.31 | 17.93 | 42.3 | 65.5 | 25.31
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] East (45 to 135 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | East (45 to 135 deg) | 65.5 | 25.31 | 17.93 | 42.3 | 65.5
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] South (135 to 225 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | South (135 to 225 deg) | 42.3 | 65.5 | 25.31 | 17.93 | 42.3
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] West (225 to 315 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | West (225 to 315 deg) | 17.93 | 42.3 | 65.5 | 25.31 | 17.93
Item Lighting Average LPD [W/m2] | Item | Lighting | Average LPD [W/m2] | 15.4606 | 15.4606 | 15.4606 | 15.4606 | 12.808
Item Envelope Average External U | Item | Envelope | Average External U | 0.44725 | 0.44725 | 0.44725 | 0.44725 | 0.40985
Item Envelope Average Window U | Item | Envelope | Average Window U | 2.5027 | 2.5027 | 2.5027 | 2.5027 | 1.3989
Item Outdoor Air Summary Average outdoor air occupied [m3/s] | Item | Outdoor Air Summary | Average outdoor air occupied [m3/s] | 69.7719 | 68.7458 | 67.3819 | 68.0172 | 135.4248
Item Outdoor Air Summary Minimum outdoor air occupied [m3/s] | Item | Outdoor Air Summary | Minimum outdoor air occupied [m3/s] | 62.8649 | 62.7282 | 62.3749 | 62.3833 | 130.3102
Zone Summary Total Area m2 | Zone Summary | Total Area | m2 | 55499.67 | 55499.67 | 55499.67 | 55499.67 | 55499.67
Zone Summary Conditioned Area m2 | Zone Summary | Conditioned Area | m2 | 51024.82 | 51024.82 | 51024.82 | 51024.82 | 52700.64
Zone Summary Unconditioned Area m2 | Zone Summary | Unconditioned Area | m2 | 4474.85 | 4474.85 | 4474.85 | 4474.85 | 2799.02
Zone Summary Volume [m3] | Zone Summary | Volume | [m3] | 261615.41 | 261615.41 | 261615.41 | 261615.41 | 268364.26
Zone Summary Gross Wall Area [m2] | Zone Summary | Gross Wall Area | [m2] | 8631.1 | 8631.1 | 8631.1 | 8631.1 | 8631.1
Zone Summary Window Glass Area [m2] | Zone Summary | Window Glass Area | [m2] | 3712.97 | 3712.97 | 3712.97 | 3712.97 | 4030.08
Zone Summary Avg Lighting LPD W/m2 | Zone Summary | Avg Lighting LPD | W/m2 | 15.2203 | 15.2203 | 15.2203 | 15.2203 | 12.6089
Zone Summary Avg Occupancy Density m2/Pers | Zone Summary | Avg Occupancy Density | m2/Pers | 9.15 | 9.15 | 9.15 | 9.15 | 9.15
Zone Summary Avg Plug load W/m2 [-] | Zone Summary | Avg Plug load | W/m2 [-] | 7.6391 | 7.6391 | 7.6391 | 7.6391 | 6.8882
Sensible summary HVAC Input Sensible Air Heating [GJ] [GJ] | Sensible summary | HVAC Input Sensible Air Heating [GJ] | **[MWh] | 196.7604 | 206.4733 | 220.9598 | 213.6413 | 36.4331
Sensible summary HVAC Input Sensible Air Cooling [GJ] [GJ] | Sensible summary | HVAC Input Sensible Air Cooling [GJ] | **[MWh] | -4638.8633 | -4613.577 | -4508.8461 | -4553.5294 | -3591.7574
Sensible summary HVAC Input Heated Surface Heating [GJ] [GJ] | Sensible summary | HVAC Input Heated Surface Heating [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary HVAC Input Cooled Surface Cooling [GJ] [GJ] | Sensible summary | HVAC Input Cooled Surface Cooling [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary People Sensible Heat Addition [GJ] [GJ] | Sensible summary | People Sensible Heat Addition [GJ] | **[MWh] | 1181.7107 | 1186.0464 | 1185.4199 | 1186.3163 | 1093.3018
Sensible summary Lights Sensible Heat Addition [GJ] [GJ] | Sensible summary | Lights Sensible Heat Addition [GJ] | **[MWh] | 2435.9877 | 2435.9877 | 2435.9877 | 2435.9877 | 2030.3452
Sensible summary Equipment Sensible Heat Addition [GJ] [GJ] | Sensible summary | Equipment Sensible Heat Addition [GJ] | **[MWh] | 1982.7347 | 1982.7347 | 1982.7347 | 1982.7347 | 1739.6711
Sensible summary Window Heat Addition [GJ] [GJ] | Sensible summary | Window Heat Addition [GJ] | **[MWh] | 750.6953 | 734.4582 | 609.1624 | 632.8208 | 1004.7516
Sensible summary Interzone Air Transfer Heat Addition [GJ] [GJ] | Sensible summary | Interzone Air Transfer Heat Addition [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Addition [GJ] [GJ] | Sensible summary | Infiltration Heat Addition [GJ] | **[MWh] | 0.28548 | 0.28742 | 0.28631 | 0.27853 | 0.16912
Sensible summary Opaque Surface Conduction and Other Heat Addition [GJ] [GJ] | Sensible summary | Opaque Surface Conduction and Other Heat Addition [GJ] | **[MWh] | 326.7407 | 315.3161 | 331.7324 | 335.1845 | 145.7953
Sensible summary Equipment Sensible Heat Removal [GJ] [GJ] | Sensible summary | Equipment Sensible Heat Removal [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Window Heat Removal [GJ] [GJ] | Sensible summary | Window Heat Removal [GJ] | **[MWh] | -697.3511 | -700.5366 | -699.1722 | -695.0414 | -514.1318
Sensible summary Interzone Air Transfer Heat Removal [GJ] [GJ] | Sensible summary | Interzone Air Transfer Heat Removal [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Removal [GJ] [GJ] | Sensible summary | Infiltration Heat Removal [GJ] | **[MWh] | -55.638 | -55.4356 | -55.5719 | -55.6727 | -102.1214
Sensible summary Opaque Surface Conduction and Other Heat Removal [GJ] [GJ] | Sensible summary | Opaque Surface Conduction and Other Heat Removal [GJ] | **[MWh] | -1483.0266 | -1491.7144 | -1502.6461 | -1482.6767 | -1842.4215

## Fuel
|  |  | AD | BL | AD | BL |  | AD |  |  | BL |  |  |  | Proposed | Baseline | Baseline2 | Baseline3 | Baseline4
|  |  | FLH | FLH | MWh | MWh |  | elec | gas | other | elec | gas | other |  | MWh | MWh | MWh | MWh | MWh
[14 empty] | Input Verification and Results Summary Rotation for Appendix G [deg] Value | 0 | 0 | 90 | 180 | 270 | 0 |  |  | 135
[14 empty] | Input Verification and Results Summary Hours Simulated [hrs] Value | 8760 | 8760 | 8760 | 8760 | 8760 | 1 |  |  | 8760
#DIV/0!
| Lighting | elec |  |  | 2030.3452 | 2435.9872 | 16.65% | 2030.3452 | 0 | 0 | 2435.9872 | 0 | 0 | LEED Summary Interior Lighting Electric Energy Use [GJ] | 2030.3452 | 2435.9872 | 2435.9872 | 2435.9872 | 2435.9872 | 0 | 4314537.182 | 3596078.0429 | 2435.9872
|  |  | 3358.1986 | 3353.1728 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Interior Lighting Electric Demand [W] | 604593.56 | 726472.31 | 726472.31 | 726472.31 | 731851.87 | 1 | 3358.1986 | 3353.1728 | 727817.2
| Space heating elec | elec |  |  | 0.019439 | 0.002777 | -600% | 0.019439 | 0 | 0 | 0.002777 | 0 | 0 | LEED Summary Space Heating Electric Energy Use [GJ] | 0.019439 | 0.002777 | 0.002777 | 0.002777 | 0.002777 | 0 | 3.1102e+13 | 2.616e+14 | 0.002777
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Space heating gas | gas |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Space heating other | other |  |  | 4731.9025 | 631.4565 | -649.4% | 0 | 0 | 4731.9025 | 0 | 0 | 631.4565 | LEED Summary Space Heating Additional Energy Use [GJ] | 4731.9025 | 625.7858 | 614.2113 | 649.9291 | 635.8997 | 0 | 0 | 0 | 631.4565
|  |  | 1466.9596 | 350.8691 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Additional Demand [W] | 3225652.99 | 1783530.77 | 1815746.36 | 1782669.03 | 1803096.2 | 1 | 1466.9596 | 350.8691 | 1796260.59
| Space cooling | elec |  |  | 1860.0985 | 1691.0382 | -9.997% | 1860.0985 | 0 | 0 | 1691.0382 | 0 | 0 | LEED Summary Space Cooling Electric Energy Use [GJ] | 1860.0985 | 1698.9297 | 1692.9397 | 1685.4696 | 1686.8137 | 0 | 1734130230.356 | 1049796673.1081 | 1691.0382
|  |  | 1488.5898 | 3455.1526 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Cooling Electric Demand [W] | 1249570.85 | 491709.02 | 497940.81 | 487957.88 | 469795.89 | 1 | 1488.5898 | 3455.1526 | 486850.9
| Pumps | elec |  |  | 437.7052 | 210.7785 | -107.7% | 437.7052 | 0 | 0 | 210.7785 | 0 | 0 | LEED Summary Pumps Electric Energy Use [GJ] | 437.7052 | 209.3914 | 209.3192 | 212.496 | 211.9073 | 0 | #REF! | #REF! | 210.7785
|  |  | 7327.1292 | 9080.1425 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Pumps Electric Demand [W] | 59737.61 | 23060.36 | 23082.69 | 23432.85 | 23317.19 | 1 | 7327.1292 | 9080.1425 | 23223.2725
| Heat rejection | elec |  |  | 114.3402 | 67.9796 | -68.2% | 114.3402 | 0 | 0 | 67.9796 | 0 | 0 | LEED Summary Heat Rejection Electric Energy Use [GJ] | 114.3402 | 70.3247 | 68.7196 | 65.4511 | 67.4228 | 0 | #REF! | #REF! | 67.9796
|  |  | 1647.3931 | 521.0118 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Heat Rejection Electric Demand [W] | 69406.75 | 134977.27 | 135107.99 | 137157.55 | 136480.52 | 1 | 1647.3931 | 521.0118 | 135930.8325
| Fans | elec |  |  | 3125.7829 | 620.7289 | -403.6% | 3125.7829 | 0 | 0 | 620.7289 | 0 | 0 | LEED Summary Fans-Interior Electric Energy Use [GJ] | 3125.7829 | 621.8758 | 623.7142 | 621.6592 | 615.6665 | 0 | #REF! | #REF! | 620.7289
|  |  | 8283.351 | 7586.3976 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Interior Electric Demand [W] | 377357.29 | 81972.48 | 81529.68 | 78810.04 | 77338.85 | 1 | 8283.351 | 7586.3976 | 79912.7625
| Parking fans | elec |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Parking Garage Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Parking Garage Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| DHW elec | elec |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| DHW gas | gas |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| DHW other | other |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Additional Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Additional Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Plug load | elec |  |  | 1739.6711 | 1982.7336 | 12.26% | 1739.6711 | 0 | 0 | 1982.7336 | 0 | 0 | LEED Summary Receptacle Equipment Electric Energy Use [GJ] | 1739.6711 | 1982.7336 | 1982.7336 | 1982.7336 | 1982.7336 | 0 | 0 | 0 | 1982.7336
|  |  | 4582.5593 | 4676.5966 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Receptacle Equipment Electric Demand [W] | 379628.71 | 423969.34 | 423969.34 | 423969.34 | 423969.34 | 1 | 4582.5593 | 4676.5966 | 423969.34
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryInterior Lighting (process)Electric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryInterior Lighting (process)Electric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryRefrigeration EquipmentElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryRefrigeration EquipmentElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingNatural Gas Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingNatural Gas Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingAdditional Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingAdditional Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessNatural Gas Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessNatural Gas Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessAdditional Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessAdditional Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
| Elevators | elec |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Elevators and Escalators Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Elevators and Escalators Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Exterior equipment | elec |  |  | 14.6952 | 14.6952 | 0% | 14.6952 | 0 | 0 | 14.6952 | 0 | 0 | Annual Building Utility Performance Summary Exterior Equipment Electricity [kWh] | 14.6952 | 14.6952 | 14.6952 | 14.6952 | 14.6952 | 0 | 0 | 0 | 14.6952
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
| Total elec |  |  |  | 9322.65 | 7023.9411 | -32.73% | 9322.6577 | 0 | 4731.9025 | 7023.9439 | 0 | 631.4565 | LEED Summary Total Line Electric Energy Use [GJ] | 9322.65 | 7033.9355 | 7028.1094 | 7018.4926 | 7015.2269 | 0 | #REF! | #REF! | 7023.9411
| Total gas |  |  |  | 0 | 0 | [7 empty] | LEED Summary Total Line Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
| Total other |  |  |  | 4731.9025 | 631.4565 | -649.4% | [6 empty] | LEED Summary Total Line Additional Energy Use [GJ] | 4731.9025 | 625.7858 | 614.2113 | 649.9291 | 635.8997 | 0 | #REF! | #REF! | 631.4565
#DIV/0!
Calculated Fuel totals | [22 empty] | #DIV/0!
| Elec |  | MWh | OK | 9322.6577 | 7023.9439 | -32.73%
| Gas |  | MWh | N/A | 0 | 0
| Other Fuel |  | MWh | OK | 4731.9025 | 631.4565 | -649.4%
Rate
| Total elec |  | USD | 0.19 | 1771.305 | 1334.5493 | -32.73%
| Total gas |  | USD | 0 | 0 | 0
| Total other |  | USD | 0.1033 | 488.8055 | 65.2295 | -649.4%
[5 empty] | Cost | Cost | Savings
[5 empty] | AD kUSD | BL kUSD | kUSD
|  |  | USD |  | 2260.1105 | 1399.7788 | -860.3317
[6 empty] | Total | -61.46%
[15 empty] | Proposed | Baseline | Baseline | Baseline | Baseline |  |  |  | Baseline
| Heating SP | [12 empty] | Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Heating Facility [Hours] | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
| Cooling SP | [12 empty] | Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Cooling Facility [Hours] | 3150.5 | 63.5 | 19 | 0 | 24.5 |  |  |  | 26.75
| Window ratio | [12 empty] | Input Verification and Results Summary Above Ground Window-Wall Ratio [%] Total | 36.85 | 36.85 | 36.85 | 36.85 | 36.85 |  |  |  | 36.85
| LPD | [12 empty] | Item Lighting Average LPD [W/m2] | 12.808 | 15.4606 | 15.4606 | 15.4606 | 15.4606 |  |  |  | 15.4606
| U-Value | [12 empty] | Item Envelope Average External U | 0.40985 | 0.44725 | 0.44725 | 0.44725 | 0.44725 |  |  |  | 0.44725
| Window U | [12 empty] | Item Envelope Average Window U | 1.3989 | 2.5027 | 2.5027 | 2.5027 | 2.5027 |  |  |  | 2.5027
| Area | [12 empty] | Zone Summary Total Area m2 | 55499.67 | 55499.67 | 55499.67 | 55499.67 | 55499.67 |  |  |  | 55499.67
| Conditioned area | [12 empty] | Zone Summary Conditioned Area m2 | 52700.64 | 51024.82 | 51024.82 | 51024.82 | 51024.82 |  |  |  | 51024.82
| Uncon area | [12 empty] | Zone Summary Unconditioned Area m2 | 2799.02 | 4474.85 | 4474.85 | 4474.85 | 4474.85 |  |  |  | 4474.85
| LPD | [12 empty] | Zone Summary Avg Lighting LPD W/m2 | 12.6089 | 15.2203 | 15.2203 | 15.2203 | 15.2203 |  |  |  | 15.2203
| Occupancy | [12 empty] | Zone Summary Avg Occupancy Density m2/Pers | 9.15 | 9.15 | 9.15 | 9.15 | 9.15 |  |  |  | 9.15
| Occupancy | [12 empty] | Occupancy | 6065.5377 | 6065.5377 | 6065.5377 | 6065.5377 | 6065.5377 |  |  |  | 6065.5377
[14 empty] | Zone Summary Avg Plug load W/m2 [-] | 6.8882 | 7.6391 | 7.6391 | 7.6391 | 7.6391 |  |  |  | 7.6391
[14 empty] | Item Outdoor Air Summary Average outdoor air occupied [m3/s] | 135.4248 | 69.7719 | 68.7458 | 67.3819 | 68.0172 |  |  |  | 68.4792
[14 empty] | Item Outdoor Air Summary Minimum outdoor air occupied [m3/s] | 130.3102 | 62.8649 | 62.7282 | 62.3749 | 62.3833
|  |  | Per conditioned area |  | Per total area |  | (Benchmark) | Diff (%) | [5 empty] | Average specifig fresh air [L/s per m2] | 2.5697 | 1.3674 | 1.3473 | 1.3206 | 1.333
|  |  | AD | BL | AD | BL
| Heating kWh/m2 |  | 89.7883 | 12.3755 | 85.26 | 11.3777 | 24.63 | 71.11%
| Cooling kWh/m2 |  | 35.2956 | 32.0876 | 33.5155 | 30.4693 | 29.95 | 70.9%
| Ventilation kWh/m2 |  | 67.6175 | 16.2961 | 64.2074 | 14.9822
| DHW kWh/m2 |  | 0 | 0 | 0 | 0 | 0.53 | #DIV/0!
| Lighting kWh/m2 |  | 38.526 | 47.7412 | 36.583 | 43.8919 | 19.91 | 45.58%

## Sensible breakdown
|  | Proposed | Baseline | Baseline2 | Baseline3 | Baseline4 | Baseline
|  | MWh | MWh | MWh | MWh | MWh
Sensible summary HVAC Input Sensible Air Heating [GJ] [GJ] | Air heating | 36.4331 | 196.7604 | 206.4733 | 220.9598 | 213.6413 | 209.4587
Sensible summary HVAC Input Sensible Air Cooling [GJ] [GJ] | Air cooling | -3591.7574 | -4638.8633 | -4613.577 | -4508.8461 | -4553.5294 | -4578.7039
Sensible summary HVAC Input Heated Surface Heating [GJ] [GJ] | Surface heating | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary HVAC Input Cooled Surface Cooling [GJ] [GJ] | Surface cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary People Sensible Heat Addition [GJ] [GJ] | People | 1093.3018 | 1181.7107 | 1186.0464 | 1185.4199 | 1186.3163 | 1184.8734
Sensible summary Lights Sensible Heat Addition [GJ] [GJ] | Lights | 2030.3452 | 2435.9877 | 2435.9877 | 2435.9877 | 2435.9877 | 2435.9877
Sensible summary Equipment Sensible Heat Addition [GJ] [GJ] | Equipment | 1739.6711 | 1982.7347 | 1982.7347 | 1982.7347 | 1982.7347 | 1982.7347
Sensible summary Window Heat Addition [GJ] [GJ] | Window heat | 1004.7516 | 750.6953 | 734.4582 | 609.1624 | 632.8208 | 681.7842
Sensible summary Interzone Air Transfer Heat Addition [GJ] [GJ] | Interzone heat | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Addition [GJ] [GJ] | Infiltration heat | 0.16912 | 0.28548 | 0.28742 | 0.28631 | 0.27853 | 0.28443
Sensible summary Opaque Surface Conduction and Other Heat Addition [GJ] [GJ] | Surface condution heat | 145.7953 | 326.7407 | 315.3161 | 331.7324 | 335.1845 | 327.2434
Sensible summary Equipment Sensible Heat Removal [GJ] [GJ] | Equipment cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Window Heat Removal [GJ] [GJ] | Window cooling | -514.1318 | -697.3511 | -700.5366 | -699.1722 | -695.0414 | -698.0253
Sensible summary Interzone Air Transfer Heat Removal [GJ] [GJ] | Interzone cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Removal [GJ] [GJ] | Infiltration cooling | -102.1214 | -55.638 | -55.4356 | -55.5719 | -55.6727 | -55.5796
Sensible summary Opaque Surface Conduction and Other Heat Removal [GJ] [GJ] | Surface cooling | -1842.4215 | -1483.0266 | -1491.7144 | -1502.6461 | -1482.6767 | -1490.0159

## <Testing>
| Header text | Returns column number of matched text
Test MATCH | Baseline | 5
Row text
#N/A