## DATABASE
Item Building: - | Item | Building: | - | Baseline | Baseline2 | Baseline3 | Baseline4 | Proposed
Annual Building Utility Performance Summary Total Site Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Total Site Energy | Total Energy *[MWh] | 1190.2037 | 1178.7054 | 1192.4105 | 1174.26 | 797.7021
Annual Building Utility Performance Summary Total Site Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Site Energy | Energy Per Total Building Area [kWh/m2] | 309.18 | 306.19 | 309.75 | 305.04 | 207.22
Annual Building Utility Performance Summary Total Site Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Site Energy | Energy Per Conditioned Building Area [kWh/m2] | 357.3 | 353.85 | 357.96 | 352.52 | 240.13
Annual Building Utility Performance Summary Net Site Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Net Site Energy | Total Energy *[MWh] | 1190.2037 | 1178.7054 | 1192.4105 | 1174.26 | 797.7021
Annual Building Utility Performance Summary Net Site Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Site Energy | Energy Per Total Building Area [kWh/m2] | 309.18 | 306.19 | 309.75 | 305.04 | 207.22
Annual Building Utility Performance Summary Net Site Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Site Energy | Energy Per Conditioned Building Area [kWh/m2] | 357.3 | 353.85 | 357.96 | 352.52 | 240.13
Annual Building Utility Performance Summary Total Source Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Total Source Energy | Total Energy *[MWh] | 2662.6073 | 2643.6433 | 2668.5595 | 2631.7329 | 2041.88
Annual Building Utility Performance Summary Total Source Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Source Energy | Energy Per Total Building Area [kWh/m2] | 691.66 | 686.74 | 693.21 | 683.64 | 530.42
Annual Building Utility Performance Summary Total Source Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Source Energy | Energy Per Conditioned Building Area [kWh/m2] | 799.32 | 793.63 | 801.11 | 790.05 | 614.66
Annual Building Utility Performance Summary Net Source Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Net Source Energy | Total Energy *[MWh] | 2662.6073 | 2643.6433 | 2668.5595 | 2631.7329 | 2041.88
Annual Building Utility Performance Summary Net Source Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Source Energy | Energy Per Total Building Area [kWh/m2] | 691.66 | 686.74 | 693.21 | 683.64 | 530.42
Annual Building Utility Performance Summary Net Source Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Source Energy | Energy Per Conditioned Building Area [kWh/m2] | 799.32 | 793.63 | 801.11 | 790.05 | 614.66
Input Verification and Results Summary Program Version and Build Value | Input Verification and Results Summary | Program Version and Build | Value | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.11 17:50 | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.11 17:50 | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.11 17:50 | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.11 17:50 | EnergyPlus-Windows-64 8.1.0.008, YMD=2013.12.11 17:50
Input Verification and Results Summary RunPeriod Value | Input Verification and Results Summary | RunPeriod | Value | CENTRAL ADMIN | CENTRAL ADMIN | CENTRAL ADMIN | CENTRAL ADMIN | CENTRAL ADMIN
Input Verification and Results Summary Weather File Value | Input Verification and Results Summary | Weather File | Value | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160
Input Verification and Results Summary Latitude [deg] Value | Input Verification and Results Summary | Latitude [deg] | Value | 48.2 | 48.2 | 48.2 | 48.2 | 48.2
Input Verification and Results Summary Longitude [deg] Value | Input Verification and Results Summary | Longitude [deg] | Value | 17.2 | 17.2 | 17.2 | 17.2 | 17.2
Input Verification and Results Summary Elevation [m] Value | Input Verification and Results Summary | Elevation [m] | Value | 130 | 130 | 130 | 130 | 130
Input Verification and Results Summary Time Zone Value | Input Verification and Results Summary | Time Zone | Value | 1 | 1 | 1 | 1 | 1
Input Verification and Results Summary North Axis Angle [deg] Value | Input Verification and Results Summary | North Axis Angle [deg] | Value | 0 | 0 | 0 | 0 | 0
Input Verification and Results Summary Rotation for Appendix G [deg] Value | Input Verification and Results Summary | Rotation for Appendix G [deg] | Value | 0 | 90 | 180 | 270 | 0
Input Verification and Results Summary Hours Simulated [hrs] Value | Input Verification and Results Summary | Hours Simulated [hrs] | Value | 8760 | 8760 | 8760 | 8760 | 8760
LEED Summary Interior Lighting Electric Energy Use [GJ] | LEED Summary | Interior Lighting | Electric Energy Use **[MWh] | 113.8348 | 113.8348 | 113.8348 | 113.8348 | 89.3472
LEED Summary Interior Lighting Electric Demand [W] | LEED Summary | Interior Lighting | Electric Demand [W] | 36616.15 | 36616.15 | 36616.15 | 36616.15 | 28765.88
LEED Summary Interior Lighting Natural Gas Energy Use [GJ] | LEED Summary | Interior Lighting | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Natural Gas Demand [W] | LEED Summary | Interior Lighting | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Additional Energy Use [GJ] | LEED Summary | Interior Lighting | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Additional Demand [W] | LEED Summary | Interior Lighting | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Electric Energy Use [GJ] | LEED Summary | Exterior Lighting | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Electric Demand [W] | LEED Summary | Exterior Lighting | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Natural Gas Energy Use [GJ] | LEED Summary | Exterior Lighting | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Natural Gas Demand [W] | LEED Summary | Exterior Lighting | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Additional Energy Use [GJ] | LEED Summary | Exterior Lighting | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Additional Demand [W] | LEED Summary | Exterior Lighting | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Electric Energy Use [GJ] | LEED Summary | Space Heating | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0.030547
LEED Summary Space Heating Electric Demand [W] | LEED Summary | Space Heating | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Natural Gas Energy Use [GJ] | LEED Summary | Space Heating | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Natural Gas Demand [W] | LEED Summary | Space Heating | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Additional Energy Use [GJ] | LEED Summary | Space Heating | Additional Energy Use **[MWh] | 510.5931 | 502.5426 | 511.0735 | 501.5429 | 223.493
LEED Summary Space Heating Additional Demand [W] | LEED Summary | Space Heating | Additional Demand [W] | 340391.02 | 336462.12 | 342065.61 | 336706.52 | 487452.66
LEED Summary Space Cooling Electric Energy Use [GJ] | LEED Summary | Space Cooling | Electric Energy Use **[MWh] | 111.702 | 110.258 | 112.3435 | 109.4638 | 80.272
LEED Summary Space Cooling Electric Demand [W] | LEED Summary | Space Cooling | Electric Demand [W] | 110332.37 | 108286.71 | 111227.78 | 108419.78 | 134635.17
LEED Summary Space Cooling Natural Gas Energy Use [GJ] | LEED Summary | Space Cooling | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Natural Gas Demand [W] | LEED Summary | Space Cooling | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Additional Energy Use [GJ] | LEED Summary | Space Cooling | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Additional Demand [W] | LEED Summary | Space Cooling | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Electric Energy Use [GJ] | LEED Summary | Pumps | Electric Energy Use **[MWh] | 5.5235 | 5.4596 | 5.5512 | 5.4651 | 1.7328
LEED Summary Pumps Electric Demand [W] | LEED Summary | Pumps | Electric Demand [W] | 630.74 | 623.46 | 633.84 | 623.91 | 467.1
LEED Summary Pumps Natural Gas Energy Use [GJ] | LEED Summary | Pumps | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Natural Gas Demand [W] | LEED Summary | Pumps | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Additional Energy Use [GJ] | LEED Summary | Pumps | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Additional Demand [W] | LEED Summary | Pumps | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Electric Energy Use [GJ] | LEED Summary | Heat Rejection | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Electric Demand [W] | LEED Summary | Heat Rejection | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Natural Gas Energy Use [GJ] | LEED Summary | Heat Rejection | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Natural Gas Demand [W] | LEED Summary | Heat Rejection | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Additional Energy Use [GJ] | LEED Summary | Heat Rejection | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Additional Demand [W] | LEED Summary | Heat Rejection | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Electric Energy Use [GJ] | LEED Summary | Fans-Interior | Electric Energy Use **[MWh] | 203.3208 | 201.3825 | 204.3816 | 198.7332 | 156.2312
LEED Summary Fans-Interior Electric Demand [W] | LEED Summary | Fans-Interior | Electric Demand [W] | 28936.27 | 28306.9 | 29143.64 | 28396.94 | 44252.14
LEED Summary Fans-Interior Natural Gas Energy Use [GJ] | LEED Summary | Fans-Interior | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Natural Gas Demand [W] | LEED Summary | Fans-Interior | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Additional Energy Use [GJ] | LEED Summary | Fans-Interior | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Additional Demand [W] | LEED Summary | Fans-Interior | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Electric Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Electric Demand [W] | LEED Summary | Fans-Parking Garage | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Natural Gas Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Natural Gas Demand [W] | LEED Summary | Fans-Parking Garage | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Additional Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Additional Demand [W] | LEED Summary | Fans-Parking Garage | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Electric Energy Use [GJ] | LEED Summary | Service Water Heating | Electric Energy Use **[MWh] | 81.5355 | 81.5355 | 81.5355 | 81.5355 | 81.5327
LEED Summary Service Water Heating Electric Demand [W] | LEED Summary | Service Water Heating | Electric Demand [W] | 33771.72 | 33771.72 | 33771.72 | 33771.72 | 33771.72
LEED Summary Service Water Heating Natural Gas Energy Use [GJ] | LEED Summary | Service Water Heating | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Natural Gas Demand [W] | LEED Summary | Service Water Heating | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Additional Energy Use [GJ] | LEED Summary | Service Water Heating | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Additional Demand [W] | LEED Summary | Service Water Heating | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Electric Energy Use [GJ] | LEED Summary | Receptacle Equipment | Electric Energy Use **[MWh] | 148.3473 | 148.3473 | 148.3473 | 148.3473 | 149.8219
LEED Summary Receptacle Equipment Electric Demand [W] | LEED Summary | Receptacle Equipment | Electric Demand [W] | 39358.88 | 39358.88 | 39358.88 | 39358.88 | 39763.6
LEED Summary Receptacle Equipment Natural Gas Energy Use [GJ] | LEED Summary | Receptacle Equipment | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Natural Gas Demand [W] | LEED Summary | Receptacle Equipment | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Additional Energy Use [GJ] | LEED Summary | Receptacle Equipment | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Additional Demand [W] | LEED Summary | Receptacle Equipment | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Electric Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Electric Demand [W] | LEED Summary | Interior Lighting (process) | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Natural Gas Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Natural Gas Demand [W] | LEED Summary | Interior Lighting (process) | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Additional Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Additional Demand [W] | LEED Summary | Interior Lighting (process) | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Electric Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Electric Demand [W] | LEED Summary | Refrigeration Equipment | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Natural Gas Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Natural Gas Demand [W] | LEED Summary | Refrigeration Equipment | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Additional Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Additional Demand [W] | LEED Summary | Refrigeration Equipment | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Electric Energy Use [GJ] | LEED Summary | Cooking | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Electric Demand [W] | LEED Summary | Cooking | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Natural Gas Energy Use [GJ] | LEED Summary | Cooking | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Natural Gas Demand [W] | LEED Summary | Cooking | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Additional Energy Use [GJ] | LEED Summary | Cooking | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Additional Demand [W] | LEED Summary | Cooking | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Electric Energy Use [GJ] | LEED Summary | Industrial Process | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Electric Demand [W] | LEED Summary | Industrial Process | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Natural Gas Energy Use [GJ] | LEED Summary | Industrial Process | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Natural Gas Demand [W] | LEED Summary | Industrial Process | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Additional Energy Use [GJ] | LEED Summary | Industrial Process | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Additional Demand [W] | LEED Summary | Industrial Process | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Electric Energy Use [GJ] | LEED Summary | Elevators and Escalators | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Electric Demand [W] | LEED Summary | Elevators and Escalators | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Natural Gas Energy Use [GJ] | LEED Summary | Elevators and Escalators | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Natural Gas Demand [W] | LEED Summary | Elevators and Escalators | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Additional Energy Use [GJ] | LEED Summary | Elevators and Escalators | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Additional Demand [W] | LEED Summary | Elevators and Escalators | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Total Line Electric Energy Use [GJ] | LEED Summary | Total Line | Electric Energy Use **[MWh] | 679.2764 | 675.8329 | 681.0037 | 672.3867 | 573.9865
LEED Summary Total Line Electric Demand [W] | LEED Summary | Total Line | Electric Demand [W]
LEED Summary Total Line Natural Gas Energy Use [GJ] | LEED Summary | Total Line | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Total Line Natural Gas Demand [W] | LEED Summary | Total Line | Natural Gas Demand [W]
LEED Summary Total Line Additional Energy Use [GJ] | LEED Summary | Total Line | Additional Energy Use **[MWh] | 510.5931 | 502.5426 | 511.0735 | 501.5429 | 223.493
LEED Summary Total Line Additional Demand [W] | LEED Summary | Total Line | Additional Demand [W]
Annual Building Utility Performance Summary Total Building Area Area [m2] | Annual Building Utility Performance Summary | Total Building Area | Area [m2] | 3849.56 | 3849.56 | 3849.56 | 3849.56 | 3849.56
Annual Building Utility Performance Summary Net Conditioned Building Area Area [m2] | Annual Building Utility Performance Summary | Net Conditioned Building Area | Area [m2] | 3331.09 | 3331.09 | 3331.09 | 3331.09 | 3321.97
Annual Building Utility Performance Summary Unconditioned Building Area Area [m2] | Annual Building Utility Performance Summary | Unconditioned Building Area | Area [m2] | 518.47 | 518.47 | 518.47 | 518.47 | 527.59
Annual Building Utility Performance Summary Heating Electricity [kWh] | Annual Building Utility Performance Summary | Heating | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0.03116
Annual Building Utility Performance Summary Heating Natural Gas [kWh] | Annual Building Utility Performance Summary | Heating | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heating | Additional Fuel *[MWh] | 510.7373 | 502.6843 | 511.2157 | 501.6837 | 223.5544
Annual Building Utility Performance Summary Heating District Cooling [kWh] | Annual Building Utility Performance Summary | Heating | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating District Heating [kWh] | Annual Building Utility Performance Summary | Heating | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating Water [m3] | Annual Building Utility Performance Summary | Heating | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Electricity [kWh] | Annual Building Utility Performance Summary | Cooling | Electricity *[MWh] | 111.7334 | 110.2896 | 112.3737 | 109.4934 | 80.2956
Annual Building Utility Performance Summary Cooling Natural Gas [kWh] | Annual Building Utility Performance Summary | Cooling | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Additional Fuel [kWh] | Annual Building Utility Performance Summary | Cooling | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling District Cooling [kWh] | Annual Building Utility Performance Summary | Cooling | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling District Heating [kWh] | Annual Building Utility Performance Summary | Cooling | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Water [m3] | Annual Building Utility Performance Summary | Cooling | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Electricity [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Electricity *[MWh] | 113.8658 | 113.8658 | 113.8658 | 113.8658 | 89.3729
Annual Building Utility Performance Summary Interior Lighting Natural Gas [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Additional Fuel [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting District Cooling [kWh] | Annual Building Utility Performance Summary | Interior Lighting | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting District Heating [kWh] | Annual Building Utility Performance Summary | Interior Lighting | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Water [m3] | Annual Building Utility Performance Summary | Interior Lighting | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Electricity [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Natural Gas [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Additional Fuel [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting District Cooling [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting District Heating [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Water [m3] | Annual Building Utility Performance Summary | Exterior Lighting | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Electricity [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Electricity *[MWh] | 148.3878 | 148.3878 | 148.3878 | 148.3878 | 149.8646
Annual Building Utility Performance Summary Interior Equipment Natural Gas [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Additional Fuel [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment District Cooling [kWh] | Annual Building Utility Performance Summary | Interior Equipment | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment District Heating [kWh] | Annual Building Utility Performance Summary | Interior Equipment | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Water [m3] | Annual Building Utility Performance Summary | Interior Equipment | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Electricity [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Electricity *[MWh] | 14.6952 | 14.6952 | 14.6952 | 14.6952 | 14.6952
Annual Building Utility Performance Summary Exterior Equipment Natural Gas [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Additional Fuel [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment District Cooling [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment District Heating [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Water [m3] | Annual Building Utility Performance Summary | Exterior Equipment | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Electricity [kWh] | Annual Building Utility Performance Summary | Fans | Electricity *[MWh] | 203.3781 | 201.44 | 204.4382 | 198.7877 | 156.2749
Annual Building Utility Performance Summary Fans Natural Gas [kWh] | Annual Building Utility Performance Summary | Fans | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Additional Fuel [kWh] | Annual Building Utility Performance Summary | Fans | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans District Cooling [kWh] | Annual Building Utility Performance Summary | Fans | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans District Heating [kWh] | Annual Building Utility Performance Summary | Fans | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Water [m3] | Annual Building Utility Performance Summary | Fans | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Electricity [kWh] | Annual Building Utility Performance Summary | Pumps | Electricity *[MWh] | 5.5253 | 5.4615 | 5.5525 | 5.4655 | 1.7333
Annual Building Utility Performance Summary Pumps Natural Gas [kWh] | Annual Building Utility Performance Summary | Pumps | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Additional Fuel [kWh] | Annual Building Utility Performance Summary | Pumps | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps District Cooling [kWh] | Annual Building Utility Performance Summary | Pumps | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps District Heating [kWh] | Annual Building Utility Performance Summary | Pumps | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Water [m3] | Annual Building Utility Performance Summary | Pumps | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Electricity [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Natural Gas [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection District Cooling [kWh] | Annual Building Utility Performance Summary | Heat Rejection | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection District Heating [kWh] | Annual Building Utility Performance Summary | Heat Rejection | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Water [m3] | Annual Building Utility Performance Summary | Heat Rejection | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Electricity [kWh] | Annual Building Utility Performance Summary | Humidification | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Natural Gas [kWh] | Annual Building Utility Performance Summary | Humidification | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Additional Fuel [kWh] | Annual Building Utility Performance Summary | Humidification | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification District Cooling [kWh] | Annual Building Utility Performance Summary | Humidification | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification District Heating [kWh] | Annual Building Utility Performance Summary | Humidification | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Water [m3] | Annual Building Utility Performance Summary | Humidification | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Electricity [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Electricity *[MWh] | 0.323 | 0.323 | 0.323 | 0.323 | 0.323
Annual Building Utility Performance Summary Heat Recovery Natural Gas [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery District Cooling [kWh] | Annual Building Utility Performance Summary | Heat Recovery | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery District Heating [kWh] | Annual Building Utility Performance Summary | Heat Recovery | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Water [m3] | Annual Building Utility Performance Summary | Heat Recovery | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Electricity [kWh] | Annual Building Utility Performance Summary | Water Systems | Electricity *[MWh] | 81.5578 | 81.5583 | 81.5587 | 81.5581 | 81.5569
Annual Building Utility Performance Summary Water Systems Natural Gas [kWh] | Annual Building Utility Performance Summary | Water Systems | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Additional Fuel [kWh] | Annual Building Utility Performance Summary | Water Systems | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems District Cooling [kWh] | Annual Building Utility Performance Summary | Water Systems | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems District Heating [kWh] | Annual Building Utility Performance Summary | Water Systems | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Water [m3] | Annual Building Utility Performance Summary | Water Systems | Water [m3] | 1263.6 | 1263.6 | 1263.6 | 1263.6 | 1263.6
Annual Building Utility Performance Summary Refrigeration Electricity [kWh] | Annual Building Utility Performance Summary | Refrigeration | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Natural Gas [kWh] | Annual Building Utility Performance Summary | Refrigeration | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Additional Fuel [kWh] | Annual Building Utility Performance Summary | Refrigeration | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration District Cooling [kWh] | Annual Building Utility Performance Summary | Refrigeration | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration District Heating [kWh] | Annual Building Utility Performance Summary | Refrigeration | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Water [m3] | Annual Building Utility Performance Summary | Refrigeration | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Electricity [kWh] | Annual Building Utility Performance Summary | Generators | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Natural Gas [kWh] | Annual Building Utility Performance Summary | Generators | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Additional Fuel [kWh] | Annual Building Utility Performance Summary | Generators | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators District Cooling [kWh] | Annual Building Utility Performance Summary | Generators | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators District Heating [kWh] | Annual Building Utility Performance Summary | Generators | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Water [m3] | Annual Building Utility Performance Summary | Generators | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Electricity [kWh] | Annual Building Utility Performance Summary |  | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Natural Gas [kWh] | Annual Building Utility Performance Summary |  | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Additional Fuel [kWh] | Annual Building Utility Performance Summary |  | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary District Cooling [kWh] | Annual Building Utility Performance Summary |  | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary District Heating [kWh] | Annual Building Utility Performance Summary |  | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water [m3] | Annual Building Utility Performance Summary |  | Water [m3]
Annual Building Utility Performance Summary Total End Uses Electricity [kWh] | Annual Building Utility Performance Summary | Total End Uses | Electricity *[MWh] | 679.4664 | 676.0211 | 681.1947 | 672.5763 | 574.1476
Annual Building Utility Performance Summary Total End Uses Natural Gas [kWh] | Annual Building Utility Performance Summary | Total End Uses | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses Additional Fuel [kWh] | Annual Building Utility Performance Summary | Total End Uses | Additional Fuel *[MWh] | 510.7373 | 502.6843 | 511.2157 | 501.6837 | 223.5544
Annual Building Utility Performance Summary Total End Uses District Cooling [kWh] | Annual Building Utility Performance Summary | Total End Uses | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses District Heating [kWh] | Annual Building Utility Performance Summary | Total End Uses | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses Water [m3] | Annual Building Utility Performance Summary | Total End Uses | Water [m3] | 1263.6 | 1263.6 | 1263.6 | 1263.6 | 1263.6
Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Heating Facility [Hours] | Annual Building Utility Performance Summary | Time Setpoint Not Met During Occupied Heating | Facility [Hours] | 117 | 117.5 | 105 | 133.5 | 64
Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Cooling Facility [Hours] | Annual Building Utility Performance Summary | Time Setpoint Not Met During Occupied Cooling | Facility [Hours] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Time Not Comfortable Based on Simple ASHRAE 55-2004 Facility [Hours] | Annual Building Utility Performance Summary | Time Not Comfortable Based on Simple ASHRAE 55-2004 | Facility [Hours] | 3147 | 3159.5 | 3138.5 | 3158 | 2705.5
Input Verification and Results Summary Gross Wall Area [m2] Total | Input Verification and Results Summary | Gross Wall Area [m2] | Total | 2143.97 | 2143.97 | 2143.97 | 2143.97 | 2143.97
Input Verification and Results Summary Gross Wall Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | North (315 to 45 deg) | 405.68 | 663.6 | 412.33 | 662.37 | 405.68
Input Verification and Results Summary Gross Wall Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | East (45 to 135 deg) | 662.37 | 405.68 | 663.6 | 412.33 | 662.37
Input Verification and Results Summary Gross Wall Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | South (135 to 225 deg) | 412.33 | 662.37 | 405.68 | 663.6 | 412.33
Input Verification and Results Summary Gross Wall Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | West (225 to 315 deg) | 663.6 | 412.33 | 662.37 | 405.68 | 663.6
Input Verification and Results Summary Above Ground Wall Area [m2] Total | Input Verification and Results Summary | Above Ground Wall Area [m2] | Total | 2143.97 | 2143.97 | 2143.97 | 2143.97 | 2143.97
Input Verification and Results Summary Above Ground Wall Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | North (315 to 45 deg) | 405.68 | 663.6 | 412.33 | 662.37 | 405.68
Input Verification and Results Summary Above Ground Wall Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | East (45 to 135 deg) | 662.37 | 405.68 | 663.6 | 412.33 | 662.37
Input Verification and Results Summary Above Ground Wall Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | South (135 to 225 deg) | 412.33 | 662.37 | 405.68 | 663.6 | 412.33
Input Verification and Results Summary Above Ground Wall Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | West (225 to 315 deg) | 663.6 | 412.33 | 662.37 | 405.68 | 663.6
Input Verification and Results Summary Window Opening Area [m2] Total | Input Verification and Results Summary | Window Opening Area [m2] | Total | 849.16 | 849.16 | 849.16 | 849.16 | 1208.02
Input Verification and Results Summary Window Opening Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Window Opening Area [m2] | North (315 to 45 deg) | 160.29 | 261.67 | 162.84 | 264.36 | 234.77
Input Verification and Results Summary Window Opening Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Window Opening Area [m2] | East (45 to 135 deg) | 264.36 | 160.29 | 261.67 | 162.84 | 370.76
Input Verification and Results Summary Window Opening Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Window Opening Area [m2] | South (135 to 225 deg) | 162.84 | 264.36 | 160.29 | 261.67 | 254.9
Input Verification and Results Summary Window Opening Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Window Opening Area [m2] | West (225 to 315 deg) | 261.67 | 162.84 | 264.36 | 160.29 | 347.59
Input Verification and Results Summary Gross Window-Wall Ratio [%] Total | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | Total | 39.61 | 39.61 | 39.61 | 39.61 | 56.34
Input Verification and Results Summary Gross Window-Wall Ratio [%] North (315 to 45 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | North (315 to 45 deg) | 39.51 | 39.43 | 39.49 | 39.91 | 57.87
Input Verification and Results Summary Gross Window-Wall Ratio [%] East (45 to 135 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | East (45 to 135 deg) | 39.91 | 39.51 | 39.43 | 39.49 | 55.97
Input Verification and Results Summary Gross Window-Wall Ratio [%] South (135 to 225 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | South (135 to 225 deg) | 39.49 | 39.91 | 39.51 | 39.43 | 61.82
Input Verification and Results Summary Gross Window-Wall Ratio [%] West (225 to 315 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | West (225 to 315 deg) | 39.43 | 39.49 | 39.91 | 39.51 | 52.38
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] Total | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | Total | 39.61 | 39.61 | 39.61 | 39.61 | 56.34
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] North (315 to 45 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | North (315 to 45 deg) | 39.51 | 39.43 | 39.49 | 39.91 | 57.87
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] East (45 to 135 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | East (45 to 135 deg) | 39.91 | 39.51 | 39.43 | 39.49 | 55.97
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] South (135 to 225 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | South (135 to 225 deg) | 39.49 | 39.91 | 39.51 | 39.43 | 61.82
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] West (225 to 315 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | West (225 to 315 deg) | 39.43 | 39.49 | 39.91 | 39.51 | 52.38
Item Lighting Average LPD [W/m2] | Item | Lighting | Average LPD [W/m2] | 11.3762 | 11.3762 | 11.3762 | 11.3762 | 9.121
Item Envelope Average External U | Item | Envelope | Average External U | 0.58467 | 0.58467 | 0.58467 | 0.58467 | 0.22039
Item Envelope Average Window U | Item | Envelope | Average Window U | 3.082 | 3.082 | 3.082 | 3.082 | 1.573
Zone Summary Total Area m2 | Zone Summary | Total Area | m2 | 3849.56 | 3849.56 | 3849.56 | 3849.56 | 3849.56
Zone Summary Conditioned Area m2 | Zone Summary | Conditioned Area | m2 | 3331.09 | 3331.09 | 3331.09 | 3331.09 | 3321.97
Zone Summary Unconditioned Area m2 | Zone Summary | Unconditioned Area | m2 | 518.47 | 518.47 | 518.47 | 518.47 | 527.59
Zone Summary Volume [m3] | Zone Summary | Volume | [m3] | 13000.43 | 13000.43 | 13000.43 | 13000.43 | 13000.43
Zone Summary Gross Wall Area [m2] | Zone Summary | Gross Wall Area | [m2] | 2143.97 | 2143.97 | 2143.97 | 2143.97 | 2143.97
Zone Summary Window Glass Area [m2] | Zone Summary | Window Glass Area | [m2] | 172.56 | 172.56 | 172.56 | 172.56 | 250.51
Zone Summary Avg Lighting LPD W/m2 | Zone Summary | Avg Lighting LPD | W/m2 | 10.6982 | 10.6982 | 10.6982 | 10.6982 | 8.6589
Zone Summary Avg Occupancy Density m2/Pers | Zone Summary | Avg Occupancy Density | m2/Pers | 9.46 | 9.46 | 9.46 | 9.46 | 9.37
Zone Summary Avg Plug load W/m2 [-] | Zone Summary | Avg Plug load | W/m2 [-] | 10.2242 | 10.2242 | 10.2242 | 10.2242 | 10.3294
Sensible summary HVAC Input Sensible Air Heating [GJ] [GJ] | Sensible summary | HVAC Input Sensible Air Heating [GJ] | **[MWh] | 104.7526 | 103.05 | 103.6476 | 101.7507 | 32.2362
Sensible summary HVAC Input Sensible Air Cooling [GJ] [GJ] | Sensible summary | HVAC Input Sensible Air Cooling [GJ] | **[MWh] | -289.9605 | -288.8399 | -292.8163 | -283.1474 | -318.9004
Sensible summary HVAC Input Heated Surface Heating [GJ] [GJ] | Sensible summary | HVAC Input Heated Surface Heating [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary HVAC Input Cooled Surface Cooling [GJ] [GJ] | Sensible summary | HVAC Input Cooled Surface Cooling [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary People Sensible Heat Addition [GJ] [GJ] | Sensible summary | People Sensible Heat Addition [GJ] | **[MWh] | 73.3764 | 73.2573 | 73.4353 | 73.3395 | 68.2545
Sensible summary Lights Sensible Heat Addition [GJ] [GJ] | Sensible summary | Lights Sensible Heat Addition [GJ] | **[MWh] | 113.834 | 113.834 | 113.834 | 113.834 | 89.3478
Sensible summary Equipment Sensible Heat Addition [GJ] [GJ] | Sensible summary | Equipment Sensible Heat Addition [GJ] | **[MWh] | 148.3462 | 148.3462 | 148.3462 | 148.3462 | 149.8228
Sensible summary Window Heat Addition [GJ] [GJ] | Sensible summary | Window Heat Addition [GJ] | **[MWh] | 149.1974 | 148.479 | 151.7614 | 146.9352 | 242.484
Sensible summary Interzone Air Transfer Heat Addition [GJ] [GJ] | Sensible summary | Interzone Air Transfer Heat Addition [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Addition [GJ] [GJ] | Sensible summary | Infiltration Heat Addition [GJ] | **[MWh] | 1.3194 | 1.331 | 1.3252 | 1.3293 | 0.66926
Sensible summary Opaque Surface Conduction and Other Heat Addition [GJ] [GJ] | Sensible summary | Opaque Surface Conduction and Other Heat Addition [GJ] | **[MWh] | 18.4657 | 20.5873 | 20.933 | 17.7678 | 31.1307
Sensible summary Equipment Sensible Heat Removal [GJ] [GJ] | Sensible summary | Equipment Sensible Heat Removal [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Window Heat Removal [GJ] [GJ] | Sensible summary | Window Heat Removal [GJ] | **[MWh] | -166.4617 | -165.6419 | -165.5336 | -167.2109 | -146.3215
Sensible summary Interzone Air Transfer Heat Removal [GJ] [GJ] | Sensible summary | Interzone Air Transfer Heat Removal [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Removal [GJ] [GJ] | Sensible summary | Infiltration Heat Removal [GJ] | **[MWh] | -43.2123 | -43.1363 | -43.1518 | -43.3262 | -52.7658
Sensible summary Opaque Surface Conduction and Other Heat Removal [GJ] [GJ] | Sensible summary | Opaque Surface Conduction and Other Heat Removal [GJ] | **[MWh] | -109.6576 | -111.2683 | -111.7829 | -109.6185 | -95.9573
Item Outdoor Air Summary Average outdoor air occupied [m3/s] | Item | Outdoor Air Summary | Average outdoor air occupied [m3/s] | 8.3601 | 8.296 | 8.3789 | 8.2514 | 10.4121
Item Outdoor Air Summary Minimum outdoor air occupied [m3/s] | Item | Outdoor Air Summary | Minimum outdoor air occupied [m3/s] | 2.4209 | 2.4093 | 2.4205 | 2.4155 | 2.5312
Item Envelope Summary Average glass U-Factor [W/m2-K] | Item | Envelope Summary | Average glass U-Factor [W/m2-K] | 3.082 | 3.082 | 3.082 | 3.082 | 1.573
Item Envelope Summary Average glass SHGC | Item | Envelope Summary | Average glass SHGC | 0.428 | 0.428 | 0.428 | 0.428 | 0.472
Item Envelope Summary Average glass visible transmittance | Item | Envelope Summary | Average glass visible transmittance | 0.308 | 0.308 | 0.308 | 0.308 | 0.661
Item HVAC Sizing Summary Total Calculated Design Cooling Load [W] | Item | HVAC Sizing Summary | Total Calculated Design Cooling Load [W] | 160558.28 | 149619.87 | 161848.57 | 149560.11 | 218318.46
Item HVAC Sizing Summary Total User Design Cooling Load [W] | Item | HVAC Sizing Summary | Total User Design Cooling Load [W] | 184641.95 | 172062.86 | 186125.78 | 171994.12 | 218318.46
Item HVAC Sizing Summary Total Calculated Design Cooling Air Flow [m3/s] | Item | HVAC Sizing Summary | Total Calculated Design Cooling Air Flow [m3/s] | 11.931 | 11.12 | 12.025 | 11.118 | 16.218
Item HVAC Sizing Summary Total User Design Cooling Air Flow [m3/s] | Item | HVAC Sizing Summary | Total User Design Cooling Air Flow [m3/s] | 14.526 | 13.898 | 14.606 | 13.894 | 16.809
Item HVAC Sizing Summary Total Calculated Design Heating Load [W] | Item | HVAC Sizing Summary | Total Calculated Design Heating Load [W] | 114954.69 | 114511.13 | 114826.71 | 114560.42 | 209942.3
Item HVAC Sizing Summary Total User Design Heating Load [W] | Item | HVAC Sizing Summary | Total User Design Heating Load [W] | 143693.33 | 143138.88 | 143533.39 | 143200.58 | 209942.3
Item HVAC Sizing Summary Total Calculated Design Heating Air Flow [m3/s] | Item | HVAC Sizing Summary | Total Calculated Design Heating Air Flow [m3/s] | 8.624 | 8.585 | 8.612 | 8.589 | 15.744
Item HVAC Sizing Summary Total User Design Heating Air Flow [m3/s] | Item | HVAC Sizing Summary | Total User Design Heating Air Flow [m3/s] | 12.941 | 12.937 | 12.931 | 12.919 | 16.687

## Fuel
|  |  | AD | BL | AD | BL |  | AD |  |  | BL |  |  |  | Proposed | Baseline | Baseline2 | Baseline3 | Baseline4
|  |  | FLH | FLH | MWh | MWh |  | elec | gas | other | elec | gas | other |  | MWh | MWh | MWh | MWh | MWh
[14 empty] | Input Verification and Results Summary Rotation for Appendix G [deg] Value | 0 | 0 | 90 | 180 | 270 | 0 |  |  | 135
[14 empty] | Input Verification and Results Summary Hours Simulated [hrs] Value | 8760 | 8760 | 8760 | 8760 | 8760 | 1 |  |  | 8760
#DIV/0!
| Lighting | elec |  |  | 89.3472 | 113.8348 | 21.51% | 89.3472 | 0 | 0 | 113.8348 | 0 | 0 | LEED Summary Interior Lighting Electric Energy Use [GJ] | 89.3472 | 113.8348 | 113.8348 | 113.8348 | 113.8348 | 0 | 98044484.8422 | 76953631.3259 | 113.8348
|  |  | 3106.013 | 3108.8682 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Interior Lighting Electric Demand [W] | 28765.88 | 36616.15 | 36616.15 | 36616.15 | 36616.15 | 1 | 3106.013 | 3108.8682 | 36616.15
| Space heating elec | elec |  |  | 0.030547 | 0 |  | 0.030547 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Electric Energy Use [GJ] | 0.030547 | 0 | 0 | 0 | 0 | 0 | 941692473892.6899 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Space heating gas | gas |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Space heating other | other |  |  | 223.493 | 506.438 | 55.87% | 0 | 0 | 223.493 | 0 | 0 | 506.438 | LEED Summary Space Heating Additional Energy Use [GJ] | 223.493 | 510.5931 | 502.5426 | 511.0735 | 501.5429 | 0 | 0 | 0 | 506.438
|  |  | 458.4916 | 1500.0193 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Additional Demand [W] | 487452.66 | 340391.02 | 336462.12 | 342065.61 | 336706.52 | 1 | 458.4916 | 1500.0193 | 338906.3175
| Space cooling | elec |  |  | 80.272 | 110.9418 | 27.65% | 80.272 | 0 | 0 | 110.9418 | 0 | 0 | LEED Summary Space Cooling Electric Energy Use [GJ] | 80.272 | 111.702 | 110.258 | 112.3435 | 109.4638 | 0 | 6072514584.8559 | 3047312256.9785 | 110.9418
|  |  | 596.2184 | 1012.4141 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Cooling Electric Demand [W] | 134635.17 | 110332.37 | 108286.71 | 111227.78 | 108419.78 | 1 | 596.2184 | 1012.4141 | 109566.66
| Pumps | elec |  |  | 1.7328 | 5.4998 | 68.49% | 1.7328 | 0 | 0 | 5.4998 | 0 | 0 | LEED Summary Pumps Electric Energy Use [GJ] | 1.7328 | 5.5235 | 5.4596 | 5.5512 | 5.4651 | 0 | #REF! | #REF! | 5.4998
|  |  | 3709.8009 | 8757.0996 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Pumps Electric Demand [W] | 467.1 | 630.74 | 623.46 | 633.84 | 623.91 | 1 | 3709.8009 | 8757.0996 | 627.9875
| Heat rejection | elec |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Heat Rejection Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Heat Rejection Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Fans | elec |  |  | 156.2312 | 201.9545 | 22.64% | 156.2312 | 0 | 0 | 201.9545 | 0 | 0 | LEED Summary Fans-Interior Electric Energy Use [GJ] | 156.2312 | 203.3208 | 201.3825 | 204.3816 | 198.7332 | 0 | #REF! | #REF! | 201.9545
|  |  | 3530.4788 | 7026.5045 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Interior Electric Demand [W] | 44252.14 | 28936.27 | 28306.9 | 29143.64 | 28396.94 | 1 | 3530.4788 | 7026.5045 | 28695.9375
| Parking fans | elec |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Parking Garage Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Parking Garage Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| DHW elec | elec |  |  | 81.5327 | 81.5355 | 0.003406% | 81.5327 | 0 | 0 | 81.5355 | 0 | 0 | LEED Summary Service Water Heating Electric Energy Use [GJ] | 81.5327 | 81.5355 | 81.5355 | 81.5355 | 81.5355 | 0 | #REF! | #REF! | 81.5355
|  |  | 2414.2306 | 2414.3128 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Electric Demand [W] | 33771.72 | 33771.72 | 33771.72 | 33771.72 | 33771.72 | 1 | 2414.2306 | 2414.3128 | 33771.72
| DHW gas | gas |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| DHW other | other |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Additional Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Additional Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Plug load | elec |  |  | 299.6439 | 296.6947 | -0.994% | 299.6439 | 0 | 0 | 296.6947 | 0 | 0 | LEED Summary Receptacle Equipment Electric Energy Use [GJ] | 149.8219 | 148.3473 | 148.3473 | 148.3473 | 148.3473 | 0 | 0 | 0 | 148.3473
|  |  | 3767.816 | 3769.0945 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Receptacle Equipment Electric Demand [W] | 39763.6 | 39358.88 | 39358.88 | 39358.88 | 39358.88 | 1 | 3767.816 | 3769.0945 | 39358.88
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryInterior Lighting (process)Electric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryInterior Lighting (process)Electric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryRefrigeration EquipmentElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryRefrigeration EquipmentElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingNatural Gas Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingNatural Gas Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingAdditional Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingAdditional Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessNatural Gas Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessNatural Gas Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessAdditional Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
|  |  | #N/A | #N/A |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessAdditional Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
| Elevators | elec |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Elevators and Escalators Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Elevators and Escalators Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Exterior equipment | elec |  |  | 14.6952 | 14.6952 | 0% | 14.6952 | 0 | 0 | 14.6952 | 0 | 0 | Annual Building Utility Performance Summary Exterior Equipment Electricity [kWh] | 14.6952 | 14.6952 | 14.6952 | 14.6952 | 14.6952 | 0 | 0 | 0 | 14.6952
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
| Total elec |  |  |  | 573.9865 | 677.1249 | 15.23% | 723.4856 | 0 | 223.493 | 825.1564 | 0 | 506.438 | LEED Summary Total Line Electric Energy Use [GJ] | 573.9865 | 679.2764 | 675.8329 | 681.0037 | 672.3867 | 0 | #REF! | #REF! | 677.1249
| Total gas |  |  |  | 0 | 0 | [7 empty] | LEED Summary Total Line Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
| Total other |  |  |  | 223.493 | 506.438 | 55.87% | [6 empty] | LEED Summary Total Line Additional Energy Use [GJ] | 223.493 | 510.5931 | 502.5426 | 511.0735 | 501.5429 | 0 | #REF! | #REF! | 506.438
#DIV/0!
Calculated Fuel totals | [22 empty] | #DIV/0!
| Elec |  | MWh | OK | 723.4856 | 825.1564 | 12.32%
| Gas |  | MWh | N/A | 0 | 0
| Other Fuel |  | MWh | OK | 223.493 | 506.438 | 55.87%
Rate
| Total elec |  | USD | 0.19 | 137.4623 | 156.7797 | 12.32%
| Total gas |  | USD | 0 | 0 | 0
| Total other |  | USD | 0.1033 | 23.0868 | 52.315 | 55.87%
[5 empty] | Cost | Cost | Savings
[5 empty] | AD kUSD | BL kUSD | kUSD
|  |  | USD |  | 160.5491 | 209.0948 | 48.5457
[6 empty] | Total | 23.22%
Specific values
|  |  | Per conditioned area |  | Per total area |  | (Benchmark) | Diff (%)
|  |  | AD | BL | AD | BL
| Heating kWh/m2 |  | 67.2772 | 152.0337 | 58.0568 | 131.5574 | 24.63 | 57.58%
| Cooling kWh/m2 |  | 24.164 | 33.3964 | 20.8522 | 28.8194 | 29.95 | 58.24%
| Ventilation kWh/m2 |  | 47.5513 | 62.2782 | 41.0343 | 53.8904
| DHW kWh/m2 |  | 0 | 0 | 0 | 0 | 0.53 | #DIV/0!
| Lighting kWh/m2 |  | 26.8958 | 34.1734 | 23.2097 | 29.5709 | 19.91 | 14.22%

## Overview
|  |  | Proposed | Baseline AVG |  | Proposed | Baseline | Baseline | Baseline | Baseline | Baseline
Setpoints
| Not met heating |  | 64 | 118.25 | Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Heating Facility [Hours] | 64 | 117 | 117.5 | 105 | 133.5 | 118.25
| Not met cooling |  | 0 | 0 | Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Cooling Facility [Hours] | 0 | 0 | 0 | 0 | 0 | 0
Building envelope
| WWR |  | 56.34 | 39.61 | Input Verification and Results Summary Above Ground Window-Wall Ratio [%] Total | 56.34 | 39.61 | 39.61 | 39.61 | 39.61 | 39.61
| Average Wall U |  | 0.22039 | 0.58467 | Item Envelope Average External U | 0.22039 | 0.58467 | 0.58467 | 0.58467 | 0.58467 | 0.58467
| Average Window U |  | 1.573 | 3.082 | Item Envelope Average Window U | 1.573 | 3.082 | 3.082 | 3.082 | 3.082 | 3.082
| Glass SHGC |  | 0.472 | 0.428 | Item Envelope Summary Average glass SHGC | 0.472 | 0.428 | 0.428 | 0.428 | 0.428 | 0.428
| Glass vis. Trans |  | 0.661 | 0.308 | Item Envelope Summary Average glass visible transmittance | 0.661 | 0.308 | 0.308 | 0.308 | 0.308 | 0.308
Areas
| Total zone area |  | 3849.56 | 3849.56 | Zone Summary Total Area m2 | 3849.56 | 3849.56 | 3849.56 | 3849.56 | 3849.56 | 3849.56
| Total cond area |  | 3321.97 | 3331.09 | Zone Summary Conditioned Area m2 | 3321.97 | 3331.09 | 3331.09 | 3331.09 | 3331.09 | 3331.09
| Total uncon area |  | 527.59 | 518.47 | Zone Summary Unconditioned Area m2 | 527.59 | 518.47 | 518.47 | 518.47 | 518.47 | 518.47
Loads
| Avg lighting | w/m2 | 8.6589 | 10.6982 | Zone Summary Avg Lighting LPD W/m2 | 8.6589 | 10.6982 | 10.6982 | 10.6982 | 10.6982 | 10.6982
| Plug loads |  | 10.3294 | 10.2242 | Zone Summary Avg Plug load W/m2 [-] | 10.3294 | 10.2242 | 10.2242 | 10.2242 | 10.2242 | 10.2242
| Occ dens | m2/pers | 9.37 | 9.46 | Zone Summary Avg Occupancy Density m2/Pers | 9.37 | 9.46 | 9.46 | 9.46 | 9.46 | 9.46
| Occupancy |  | 410.8388 | 406.9302 | Occupancy | 410.8388 | 406.9302 | 406.9302 | 406.9302 | 406.9302 | 406.9302
Fresh air
| Avg occ | m3/s | 10.4121 | 8.3601 | Item Outdoor Air Summary Average outdoor air occupied [m3/s] | 10.4121 | 8.3601 | 8.296 | 8.3789 | 8.2514 | 8.3216
| Min occ | m3/s | 2.5312 | 2.4209 | Item Outdoor Air Summary Minimum outdoor air occupied [m3/s] | 2.5312 | 2.4209 | 2.4093 | 2.4205 | 2.4155 | 2.4166
| Average fresh air per area | [L/s per m2] | 3.1343 | 2.5097 | Average specifig fresh air [L/s per m2] | 3.1343 | 2.5097 | 2.4905 | 2.5154 | 2.4771 | 2.4982
| Min fresh air per area | [L/s per m2] | 0.76195 | 4.6694 | Min fresh air per area | 0.76195 | 4.6694 | 4.647 | 4.6685 | 4.6588 | 4.6609
| Avg fresh air per pers | [L/s per pers] | 25.3436 | 20.5442 | Average fresh per person | 25.3436 | 20.5442 | 20.3869 | 20.5906 | 20.2772 | 20.4497
| Min fresh air per pers | [L/s per pers] | 6.161 | 5.9493 | Min fresh per pers | 6.161 | 5.9493 | 5.9207 | 5.9482 | 5.9358 | 5.9385
Zone sizing
| Total design cooling | w/m2 | 65.7196 | 48.1999 | Item HVAC Sizing Summary Total Calculated Design Cooling Load [W] | 218318.46 | 160558.28 | 149619.87 | 161848.57 | 149560.11 | 155396.7075
| Total user cooling | w/m2 | 65.7196 | 55.4299 | Item HVAC Sizing Summary Total User Design Cooling Load [W] | 218318.46 | 184641.95 | 172062.86 | 186125.78 | 171994.12 | 178706.1775
| Sizing |  | 1 | 1.15
| Total design heating | w/m2 | 63.1981 | 34.5096 | Item HVAC Sizing Summary Total Calculated Design Heating Load [W] | 209942.3 | 114954.69 | 114511.13 | 114826.71 | 114560.42 | 114713.2375
| Total user heating | w/m2 | 63.1981 | 43.137 | Item HVAC Sizing Summary Total User Design Heating Load [W] | 209942.3 | 143693.33 | 143138.88 | 143533.39 | 143200.58 | 143391.545
| Sizing |  | 1 | 1.25 | Item HVAC Sizing Summary Total Calculated Design Cooling Air Flow [m3/s] | 16.218 | 11.931 | 11.12 | 12.025 | 11.118 | 11.5485
[5 empty] | Item HVAC Sizing Summary Total User Design Cooling Air Flow [m3/s] | 16.809 | 14.526 | 13.898 | 14.606 | 13.894 | 14.231
[5 empty] | Item HVAC Sizing Summary Total Calculated Design Heating Air Flow [m3/s] | 15.744 | 8.624 | 8.585 | 8.612 | 8.589 | 8.6025
[5 empty] | Item HVAC Sizing Summary Total User Design Heating Air Flow [m3/s] | 16.687 | 12.941 | 12.937 | 12.931 | 12.919 | 12.932
OBSELETE |  |  |  |  | Item Lighting Average LPD [W/m2] | 9.121 | 11.3762 | 11.3762 | 11.3762 | 11.3762 | 11.3762
| Glass U |  | 1.573 | 3.082 | Item Envelope Summary Average glass U-Factor [W/m2-K] | 1.573 | 3.082 | 3.082 | 3.082 | 3.082 | 3.082

## Sensible breakdown
|  | Proposed | Baseline | Baseline2 | Baseline3 | Baseline4 | Baseline
|  | MWh | MWh | MWh | MWh | MWh
Sensible summary HVAC Input Sensible Air Heating [GJ] [GJ] | Air heating | 32.2362 | 104.7526 | 103.05 | 103.6476 | 101.7507 | 103.3002
Sensible summary HVAC Input Sensible Air Cooling [GJ] [GJ] | Air cooling | -318.9004 | -289.9605 | -288.8399 | -292.8163 | -283.1474 | -288.691
Sensible summary HVAC Input Heated Surface Heating [GJ] [GJ] | Surface heating | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary HVAC Input Cooled Surface Cooling [GJ] [GJ] | Surface cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary People Sensible Heat Addition [GJ] [GJ] | People | 68.2545 | 73.3764 | 73.2573 | 73.4353 | 73.3395 | 73.3521
Sensible summary Lights Sensible Heat Addition [GJ] [GJ] | Lights | 89.3478 | 113.834 | 113.834 | 113.834 | 113.834 | 113.834
Sensible summary Equipment Sensible Heat Addition [GJ] [GJ] | Equipment | 149.8228 | 148.3462 | 148.3462 | 148.3462 | 148.3462 | 148.3462
Sensible summary Window Heat Addition [GJ] [GJ] | Window heat | 242.484 | 149.1974 | 148.479 | 151.7614 | 146.9352 | 149.0932
Sensible summary Interzone Air Transfer Heat Addition [GJ] [GJ] | Interzone heat | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Addition [GJ] [GJ] | Infiltration heat | 0.66926 | 1.3194 | 1.331 | 1.3252 | 1.3293 | 1.3262
Sensible summary Opaque Surface Conduction and Other Heat Addition [GJ] [GJ] | Surface condution heat | 31.1307 | 18.4657 | 20.5873 | 20.933 | 17.7678 | 19.4384
Sensible summary Equipment Sensible Heat Removal [GJ] [GJ] | Equipment cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Window Heat Removal [GJ] [GJ] | Window cooling | -146.3215 | -166.4617 | -165.6419 | -165.5336 | -167.2109 | -166.2121
Sensible summary Interzone Air Transfer Heat Removal [GJ] [GJ] | Interzone cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Removal [GJ] [GJ] | Infiltration cooling | -52.7658 | -43.2123 | -43.1363 | -43.1518 | -43.3262 | -43.2066
Sensible summary Opaque Surface Conduction and Other Heat Removal [GJ] [GJ] | Surface cooling | -95.9573 | -109.6576 | -111.2683 | -111.7829 | -109.6185 | -110.5818

## <Testing>
| Header text | Returns column number of matched text
Test MATCH | Baseline | 5
Row text
#N/A