## Variants
|  | Description | Source File Relative Path | TargetDirectory
Template |  | Simple Building | 01 Start.idf | .
Templates
|  | Template ID | Over Zones named …
General simulation parameters
Run period, annual
Simulation control
Building and location
Ground temperatures
Basic sizing parameters
All type limits
Constructions 1A Nonresidential opaque
Constructions 1A windows
|  | HVAC FanCoil plus DOAS | .
|  | Generic infiltration | .
Basic output settings
Summary table output
Cool building output
Changes
|  | In this class | this attribute | becomes
|  | ^Building$ | Name | Simple Building
|  | ^Building$ | Solar Distribution | FullExterior
|  | ^Building$ | North Axis | 0
|  | ^SimulationControl$ | Weather File Run Periods | Yes
|  | RunPeriod | Begin Month | 1
|  | RunPeriod | End Month | 12
|  | ZoneInfiltration:DesignFlowRate | Air Changes per Hour | 0.5

## GlobalSettings
Run control for cool building strategies
Project: | Ras Ghurab Mosque
Structure revision: | 2
Created by | Marcus Jones
Date: | 2011-08-03
Set global parameters here
| Baseline model file | 01 Start.idf
| Design model file | NA
^SimulationControl$ | Weather File Run Periods | Yes
RunPeriod | Begin Month | 1
RunPeriod | End Month | 12
^Building$ | Solar Distribution | FullExterior
^Building$ | 0 North Axis | 0
^Building$ | 90 North Axis | 90
^Building$ | 180 North Axis | 180
^Building$ | 270 North Axis | 270